## Slide 1: Surface and aerosol characterization from S5P/TROPOMI: validation, inter-comparison and expected performance
P. Litvinov1, O. Dubovik2, C. Chen1, A. Lopatin1, T. Lapionok2, D. Fuertes1, C. Matar1, Y. Karol1, L. Bindreiter3, C. Holter3, V. Lanzinger3, A. Hangler3, M. de Graaf4, G. Tilstra4, P. Stammes4, and C. Retscher5
1:
2:
3:
4:
5:

## Slide 2: Aerosol and surface product S5p+I AOD/BRDF project
www.grasp-sas.com/projects/aod-brdf_sentinel-5p-innovation/
GRASP aerosol and surface BRDF products
KNMI surface DLER and OMI-heritage AOD products
Two products complement and extend each other

## Slide 3
GRASP aerosol products
10 wavelengths:
0.340 0.367 0.380 0.416 0.440 0.494 0.670 0.747 0.772 2.313
Spectral AOD, AE, AODF and AODC
Spectral AAOD
Spectral SSA
4 aerosol model concentrations

## Slide 4
GRASP Surface products
10 wavelengths:
0.340 0.367 0.380 0.416 0.440 0.494 0.670 0.747 0.772 2.313
Spectral BRDF1 (land)
BRDF 2nd and 3rd parameters (land)
NDVI
Spectral water body reflectance (sea/ocean)
Spectral DHR, BHR_iso

## Slide 5: Specified requirements on aerosol (ESA S5p+I AOD/BRDF)
Characteristic | Required Uncertainty | 
 | Based on GCOS and aerosol CCI | Target: relaxed
AOD | 0.04 or 10% (whatever is bigger) | 0.05 or 20% (whatever is bigger)
Fine mode AOD (AODf) | 0.04 or 10% (whatever is bigger) | 0.05 or 20% (whatever is bigger)
SSA | 0.02 - 0.03 | 0.04 - 0.05
Requirements on surface (ESA S5p+I AOD/BRDF)
Requirements BRDF/albedo | Uncertainties | 
 | Albedo <= 0.03 | Albedo > 0.03
Target | 0.04 | 0.03 or 10% (whatever is bigger)
Optimal | 0.02 | 0.01 or 5% (whatever is bigger)

## Slide 6: Aerosol product validation. AOD GRASP/S5p vs AERONET

## Slide 7: Site by site validation statistics of GRASP/S5p AOD 550nm
R
RMSE
BIAS
GCOS

## Slide 8: Inter-comparison over AERONET: GRASP/S5p, VIIRS, and MODIS. 550nm
Beside AOD, GRASP/TROPOMI provides extended aerosol properties!
GRASP/S5p
VIIRS
MODIS

## Slide 9: Aerosol product validation. Aexp and SSA GRASP/S5p vs AERONET

## Slide 10: Aerosol product validation. Spectral dependence of SSA GRASP/S5p vs AERONET
Spectral dependence of SSA (dSSA) sensitive to aerosol type.
In GRASP/S5p product dSSA depends less on “quality” assurance index than AExp and SSA.
Correct
Correct
Correct
Correct

## Slide 11: Global inter-comparison. AOD. GRASP/S5p vs VIIRS and MODIS
GRASP/S5p AOD
VIIRS AOD
MODIS AOD
VIIRS - GRASP
MODIS - GRASP
The differences in AOD are mainly over land

## Slide 12: Global inter-comparison. Surface. GRASP/S5p vs MODIS
GRASP (BHR_iso)
GRASP - MODIS
MODIS (White Sky Albedo (WSA) MCD43C3)

## Slide 13: GRASP/S5p (BHR_ISO ) vs MODIS (MCD43C3 WSA)
Requirements BRDF/ albedo | Uncertainties | 
 | Albedo <= 0.03 | Albedo > 0.03
Target | 0.04 | 0.03 or 10% (whatever is bigger)
Optimal | 0.02 | 0.01 or 5% (whatever is bigger)
Good correspondence between GRASP and MODIS surface products globally!

## Slide 14: Summary. GRASP/S5p+I product
Global aerosol product of high quality (daily, monthly)
New information from GRASP/S5p:
AOD in UV, VIS and SWIR
Aerosol size (AEexp, AODF, AODC)
Absorption properties (SSA, dSSA, AAOD)
Full BRDF, Black Sky (DHR) and White Sky (BHR_iso) albedos from S5p/TROPOMI of high quality (daily, monthly).
Required information for aerosol type
}

## Slide 15: GRASP/S5p+I products. Expected performance
 | UV | VIS | NIR | SWIR | Coverage | Uncertainties | 
 |  |  |  |  |  | Target requirements | Optimal requirements
BRDF | ✔ | ✔ | ✔ | ✔ | Daily / Monthly | 0.03 or 10% (60 - 95%) depending on spectral band | 0.01 or 5% (50 - 80% ) depending on spectral band
Albedos | ✔ | ✔ | ✔ | ✔ |  |  | 
Surface GRASP/S5p+I product (10 wavelengths: 0.340 0.367 0.380 0.416 0.440 0.494 0.670 0.747 0.772 2.313)
Aerosol GRASP/S5p+I product (10 wavelengths: 0.340 0.367 0.380 0.416 0.440 0.494 0.670 0.747 0.772 2.313)
 | UV | VIS | NIR | SWIR | Coverage | Uncertainties | 
 |  |  |  |  |  | Target: 0.05 or 20% | Optimal: 0.04 or 10%
AOD, AODF | ✔ | ✔ | ✔ | ✔ | Daily / Monthly | Ocean: 65 - 90% Land: 45 – 80% | Ocean 60-85 % Land: 40-70 %
SSA, AAOD | ✔ | ✔ | ✔ | ✔ |  | < 0.05 ( for AOD > 0.3 ) | < 0.03
Aerosol type, aerosol height |  |  |  |  |  | Under validation | 

## Slide 16: Conclusions and Outlook
S5p+I AOD/BRDF studies show rich information content of S5p/TROMOMI for aerosol and surface characterization.
Wide TROPOMI swath (Global daily coverage) provides the possibility of detailed surface characterisation:
  - Full BRDF characterisation.
  - Possibilities for accurate separation of the atmosphere and surface signals.
Wide spectral range + global daily coverage provide new possibilities for extended aerosol characterisation:
  Aerosol absorption properties (SSA, dSSA, AAOD etc)
  Aerosol size (fine and coarse AOD, AExp etc)
In combination with GRASP retrieval algorithm aerosol and surface products of high quality can be derived from S5p/TROPOMI measurements:
  Good agreement with AERONET.
  Good global agreement with well-validated aerosol and surface products (MODIS, VIIRS).
Operational generation of advanced aerosol and surface products from S5P/TROPOMI should advance global climate studies and can be used in different climate applications.